## Sheet1
New | Load.S1a | Bus1=1.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S1a
New | Load.S2b | Bus1=2.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S2b
New | Load.S4c | Bus1=4.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S4c
New | Load.S5c | Bus1=5.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S5c
New | Load.S6c | Bus1=6.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S6c
New | Load.S7a | Bus1=7.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S7a
New | Load.S9a | Bus1=9.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S9a
New | Load.S10a | Bus1=10.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S10a
New | Load.S11a | Bus1=11.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S11a
New | Load.S12b | Bus1=12.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S12b
New | Load.S16c | Bus1=16.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S16c
New | Load.S17c | Bus1=17.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S17c
New | Load.S19a | Bus1=19.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S19a
New | Load.S20a | Bus1=20.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S20a
New | Load.S22b | Bus1=22.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S22b
New | Load.S24c | Bus1=24.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S24c
New | Load.S28a | Bus1=28.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S28a
New | Load.S29a | Bus1=29.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S29a
New | Load.S30c | Bus1=30.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S30c
New | Load.S31c | Bus1=31.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S31c
New | Load.S32c | Bus1=32.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S32c
New | Load.S33a | Bus1=33.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S33a
New | Load.S34c | Bus1=34.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S34c
New | Load.S35a | Bus1=35.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S35a
New | Load.S37a | Bus1=37.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S37a
New | Load.S38b | Bus1=38.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S38b
New | Load.S39b | Bus1=39.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S39b
New | Load.S41c | Bus1=41.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S41c
New | Load.S42a | Bus1=42.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S42a
New | Load.S43b | Bus1=43.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S43b
New | Load.S45a | Bus1=45.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S45a
New | Load.S46a | Bus1=46.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S46a
New | Load.S47 | Bus1=47 | Phases=3 | Conn=Wye | Model=1 | kV=4.16 | kW=105.0 | kvar=75.0 | duty=S47
New | Load.S48 | Bus1=48 | Phases=3 | Conn=Wye | Model=1 | kV=4.16 | kW=210.0 | kVAR=150.0 | duty=S48
New | Load.S49a | Bus1=49.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=35.0 | kvar=25.0 | duty=S49a
New | Load.S49b | Bus1=49.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=70.0 | kvar=50.0 | duty=S49b
New | Load.S49c | Bus1=49.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=35.0 | kvar=20.0 | duty=S49c | ! | used | to | be | 25 | in | on-line | document
New | Load.S50c | Bus1=50.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S50c
New | Load.S51a | Bus1=51.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S51a
New | Load.S52a | Bus1=52.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S52a
New | Load.S53a | Bus1=53.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S53a
New | Load.S55a | Bus1=55.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S55a
New | Load.S56b | Bus1=56.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S56b
New | Load.S58b | Bus1=58.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S58b
New | Load.S59b | Bus1=59.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S59b
New | Load.S60a | Bus1=60.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S60a
New | Load.S62c | Bus1=62.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S62c
New | Load.S63a | Bus1=63.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S63a
New | Load.S64b | Bus1=64.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=75.0 | kvar=35.0 | duty=S64b
New | Load.S65a | Bus1=65.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=35.0 | kvar=25.0 | duty=S65a
New | Load.S65b | Bus1=65.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=35.0 | kvar=25.0 | duty=S65b
New | Load.S65c | Bus1=65.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=70.0 | kvar=50.0 | duty=S65c
New | Load.S66c | Bus1=66.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=75.0 | kvar=35.0 | duty=S66c
New | Load.S68a | Bus1=68.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S68a
New | Load.S69a | Bus1=69.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S69a
New | Load.S70a | Bus1=70.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S70a
New | Load.S71a | Bus1=71.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S71a
New | Load.S73c | Bus1=73.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S73c
New | Load.S74c | Bus1=74.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S74c
New | Load.S75c | Bus1=75.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S75c
New | Load.S76a | Bus1=76.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=105.0 | kvar=80.0 | duty=S76a
New | Load.S76b | Bus1=76.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=70.0 | kvar=50.0 | duty=S76b
New | Load.S76c | Bus1=76.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=70.0 | kvar=50.0 | duty=S76c
New | Load.S77b | Bus1=77.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S77b
New | Load.S79a | Bus1=79.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S79a
New | Load.S80b | Bus1=80.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S80b
New | Load.S82a | Bus1=82.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S82a
New | Load.S83c | Bus1=83.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S83c
New | Load.S84c | Bus1=84.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S84c
New | Load.S85c | Bus1=85.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S85c
New | Load.S86b | Bus1=86.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S86b
New | Load.S87b | Bus1=87.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S87b
New | Load.S88a | Bus1=88.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S88a
New | Load.S90b | Bus1=90.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S90b
New | Load.S92c | Bus1=92.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S92c
New | Load.S94a | Bus1=94.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S94a
New | Load.S95b | Bus1=95.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S95b
New | Load.S96b | Bus1=96.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S96b
New | Load.S98a | Bus1=98.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S98a
New | Load.S99b | Bus1=99.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S99b
New | Load.S100c | Bus1=100.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S100c
New | Load.S102c | Bus1=102.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S102c
New | Load.S103c | Bus1=103.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S103c
New | Load.S104c | Bus1=104.3 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S104c
New | Load.S106b | Bus1=106.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S106b
New | Load.S107b | Bus1=107.2 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S107b
New | Load.S109a | Bus1=109.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S109a
New | Load.S111a | Bus1=111.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S111a
New | Load.S112a | Bus1=112.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=20.0 | kvar=10.0 | duty=S112a
New | Load.S113a | Bus1=113.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=40.0 | kvar=20.0 | duty=S113a
New | Load.S114a | Bus1=114.1 | Phases=1 | Conn=Wye | Model=1 | kV=2.4 | kW=100.0 | kvar=50.0 | duty=S114a